Agenda CFLAG Meeting Tuesday 3 Nov 2026 - (Horns Inn, 7:30 pm)

1. Approval of Minutes of last meeting 5 May 2026
2. Matters arising

3. Details of flood events to record since last meeting 
4. Status of gullies around Churchtown and A6
5. Feedback from Flood Forum 10 Sept 2026.
6. Questions for MSfW and next Forum
7. t.b.a. closer to the next meeting which should be our Annual Dinner
8. AOB
_______________________
Minutes of CFLAG Meeting 4 Aug 2026



Started 7:35 pm

	Present 
	
	Apologies

	Roger Weatherell Chair
	John Bracken
	Jane Thompson PC
	Anneatte Weatherell

	Ray Truswell
	Barbara Horne
	Lyn Doyle
	Richard Jones

	Jim Kippax
	Carol Edmiston
	Richard Muskett
	Andy Walmsley

	
	
	
	


	1
	Minutes of last meeting – Approved



	2
	Matters arising not reported below – None



	3
	Flood events since last meeting – Only Smithy Lane from surface water and A6.


	4
	Gully Status –  Most A6 gullies north of A586 Junction are blocked. One gulley on A6 next to entrance to Old Lancaster Road still blocked, repeatedly reported.


	5
	Feedback from 11 June Flood Forum – Main items relevant for Churchtown were:

· Repair of Garstang Barrage East Gate due to be lifted out on to the bank. 

· Smithy Lane dye testing from gullies still to be done to identify a possible solution to the frequent flooding problem at this location.
· Not known if the faulty flap valve to NW of Ainspool Bridge was fixed?
· WBC to try again to persuade the Green Wood landowner to allow penstock. 


	6
	Tour of Story’s Cross Nateby Housing Development SUDS – Detailed below in further questions to the MSfW Meeting. Engineering of SUDs is excellent, but there exists an institutional flaw in the arrangement of responsibilities.


	7
	Questions for MSfW Meeting – Main points for CFLAG to raise are:

· Will repair of Garstang Barrage Gate be complete before flood season?
· At the tour of the Cross Nateby Housing Development (Story/Jones), it was observed that the safety fence around the attenuation areas was low enough for a small child to climb over.

· Consequence of any failure in the Sustainable Urban Drainage System (SUDs) at this development is that Churchtown would be flooded at Ainspool Lane, already at its limit of flood protection in any major storm. The engineering of the SUDs at Nateby Crossing was excellent and capable of causing no additional flood risk. However, the institutional arrangements involve three private companies acting in series such that a failure by any link would cause the SUDS to fail and flood Churchtown. Full details to be submitted to MSfW meeting, suggesting a one-stop responsibility lying with United Utilities using ring-fenced funds from the rates on every house.  This policy could apply to any new housing development and is a challenge for higher levels of government to sort out. 

· The slit drains at the back of the Avenue footpath are again blocked.
· For information, the CFLAG is simplifying its Flood Warden System to better suit the situation existing since the construction of the Kirkland Bund.
 

	8
	CFLAG Accounts – Balance of CFLAG funds held in KPC accounts is £3404.



	9
	AOB – None

	
	

	
	

	
	


Meeting ended 9:00  pm                                                                    c.c. KPC Clerk
